## Sheet1
Nominal diameter: DN40 – DN1600 Type of connection: Threaded and flange Media temperature: – Water: 0°C to 70°C – Fuel: -40°C to 70°C Pressure range: ISO PN10/PN16/PN25 – ANSI Class 125/150/300 JIS 10K/16K – KS Table D/E, KS4087 PN16 Permissible medium/application: Pressure, Flow, Level control, Smart control in municipality. Water, pumping station, building, fire protection, irrigation, water treatment. Fuel, Sea water, Clear water Flange standard: EN 1092-2 – ISO 7005-2 – ANSI or JIS – KS2129 or KS4087