## Sheet1
Energy meter DN15-100
Brand name: Danfoss
Thread (G3/4 to G2) or flange (DN 20 to DN 100) connections
Ultrasonic compact energy meter
SonoMeter 40 energy meters consist of an ultrasonic flow sensor, a pair of Pt500 temperature sensors and a calculator with integrated circuits for temperature measurement, flow calculation and energy calculation.
Power supply: 230V / 24V/ Battery (15+1 years)
Approvals: EN1434 class 2 and 3, MID (DK-0200-MI004-034), CPA according to JJG225 -2010
Communication: Wired M-Bus / Modbus / Bacnet / LoRA-WAN / pulse output …
Connection: Thread / Flange
Working pressure: PN25
IP65
Temperature senso: Pt500 (Class B (EN60751))
Flow sensor ultrasonic, accuracy ±2%