## Sheet1
Model GSD8-RFM
Brand name: BMETERS
DN15-20
Single Jet
Cold water: 0.1-50℃
Hot water: 30-90℃
Working pressure 16 bar
Direct reading on 8 numeric rolls
Anti magnetic fraud protection
Threading EN ISO 228-1:2003
Compatible modules: RFM-MB1, RFM-TX1
Certification MID, ACS, WRAS, ICIM