## Sheet1
Energy meter DN125-800
Brand name: Danfoss
Flange connection
Ultrasonic compact energy meter
Supercal 5 and Sono3500CT is energy meters consist of an ultrasonic flow sensor, a pair of Pt500 temperature sensors and a calculator with integrated circuits for temperature measurement, flow calculation and energy calculation.
Power supply: 230V / Battery (12+1 years)
Communication: Wired M-Bus / Modbus / Bacnet / LoRA-WAN …
Working pressure: PN16 / PN25
IP65
Temperature senso: Pt500 (Class B (EN60751))
Flow sensor ultrasonic, accuracy ±2%