## Sheet1
Energy meter DN15-32
Brand name: Danfoss
DN15-32
Ultrasonic compact energy meter
The energy meters consist of an ultrasonic flow sensor, a pair of Pt1000 temperature sensors and a calculator with integrated circuits for temperature measurement, flow calculation and energy calculation.
Power supply: 230V / 24V/ Battery (16+1 years)
Approvals: EN1434 class 2 and 3, MID (DK-0200-MI004-034), CPA according to JJG225 -2010
Communication: Wired M-Bus
Connection: Thread
Working pressure: PN25
IP65
Temperature senso: Pt1000
Flow sensor ultrasonic, accuracy ±2%